**Weott CSD’s Operator’s Report**

**6-18-24**

**Kyle and Greg**

**Springs/Flow: *We are still getting good flow from the springs.***

**Test Results: *Water quality has been passing state standards.***

**Water Plant:  *It has been working efficiently***

**Wastewater Plant:Is operating as well as it can.**

**Wastewater Treatment: *Wastewater has been passing state standards.***

***Repairs and Maintenance:***

***Installation of the new meter on Newton is complete.***

***Repaired a small leak on upper madrone drive.***

***Set meter box at a residence on madrone drive***

***Upon customer's request I checked out if they were able to be hooked up to the city sewer at a new residence he's wanting to build but found that the distance from and the difference in elevation would not allow it.***

***While I was marking the location of the distribution line from the A tank, I found that there's a substantial drop in the ground that the line is buried in, approximately 1 to 3 ft. I did not observe any leakage but it will need further investigation.***

***We have been trying to keep up with the weed whacking throughout the system, but at this time of year that's a task it seems with no end.***