**Weott CSD’s Operator’s Report**

**6-18-2025**

 **Greg Teasley**

**Springs/Flow:** As of today we still have good flow on both A and B lines.

**Test Results:**

Water quality has been passing state standards.

**Water Plant:**

It has been working efficiently. Some of the plywood around the outside of the building is pretty rotten and should be replaced.

**Wastewater Plant:**

It is functioning properly and passing state tests. We do need to get a pumper truck over there to take out a few loads of solids when feasible.

**Lift station:**

I met with Bob Downing and his crew Friday, June 13th. They pulled new wire to replace the one that was messed up, and I reconnected the wires to the pump and dropped it back down in the well, it seems to be working fine.

**Repairs & Leaks**

I repaired the leak on Parish lane and replaced the register on the cal fire meter.

I also installed a new meter on Madrone drive.