Weott CSD’s Operator’s Report

08-12-2026

Greg Teasley & Curren Black

Springs/Flow:

- We are getting right around 20 gallons per minute on A line.  B line is less than that at about 17 to 19 gallons per minute. I am planning to get across the river to check the spring boxes within the next week.

Test Results:

- Water quality has been passing state standards.

Water Plant:

- It has been working efficiently.

Wastewater Plant:

- It is passing tests and there are no new malfunctions.

Lift station:

- Both pumps are working as they should

Repairs & Leaks

●   There is a pretty substantial leak on spring street that I am currently working on and hopefully will    	have fixed by the time you read this.

●   We also have what appears to be a leak on Newton road but we need to do some further   		investigation to determine if it is an actual leak or if it's ( Wishful thinking ) ground water.

If it is indeed a leak, the asphalt will have to be jack hammered to gain access to the main 		distribution line.

●  We also will be installing a meter and meterbox for a new service connection

on Sewell street.