Weott CSD’s Operator’s Report
08-12-2026 
Greg Teasley & Curren Black

Springs/Flow: 
· We are getting right around 20 gallons per minute on A line.  B line is less than that at about 17 to 19 gallons per minute. I am planning to get across the river to check the spring boxes within the next week.

Test Results: 
· Water quality has been passing state standards.
    
Water Plant:  
· It has been working efficiently.

Wastewater Plant: 
· It is passing tests and there are no new malfunctions. 

Lift station: 
· Both pumps are working as they should 

Repairs & Leaks 
       ●   There is a pretty substantial leak on spring street that I am currently working on and hopefully will    	have fixed by the time you read this.
        
       ●   We also have what appears to be a leak on Newton road but we need to do some further   		investigation to determine if it is an actual leak or if it's ( Wishful thinking ) ground water.
             If it is indeed a leak, the asphalt will have to be jack hammered to gain access to the main 		distribution line.
        
        ●  We also will be installing a meter and meterbox for a new service connection
             on Sewell street.

 
        


