**Weott CSD’s Operator’s Report**

**8-4-2025**

 **Greg Teasley**

**Springs/Flow:**

As of today we still have good flow on both A and B lines.

**Test Results:**

Water quality has been passing state standards.

**Water Plant:**

It has been working efficiently.

**Wastewater Plant:**

It is passing tests and there are no new problems.

**Lift station:**

Both pumps are working as they should be.

**Repairs & Leaks**

I repaired the handrail at the community center and also installed the new two inch meter at the trailer park. I am planning on installing the one at the school in the next week or so. We may have to rent a small excavator to dig out the meter box and make the hole bigger for access to the meter.