**Weott CSD’s Operator’s Report**

**7-16-2025**

**Greg Teasley**

**Springs/Flow:**

As of today we still have good flow on both A and B lines.

**Test Results:**

Water quality has been passing state standards.

**Water Plant:**

It has been working efficiently. Some of the plywood around the outside of the building is pretty rotten and should be replaced. There is also a one inch valve outside of the water plant that has a crack in it. I will have to turn the water flow through the plant on the A side off in order to fix it.

**Wastewater Plant:**

It is functioning properly and passing state tests. Steve's septic service removed two loads from the solids tank for us which dropped the level of the tank down considerably.

**Lift station:**

The crane hoist that is used at the lift station to lift and lower the pumps was stolen about a week ago.

**Repairs & Leaks**

I have 1 meter on Weott heights to replace and we're waiting on the meters for the school and trailer park to come in.